| ADEQUATE LIGHT LEVELS FOR YOUR WORKING OR AT YOUR WORK AREAS |
| --- |
| FT-CANDLE (lx) LOCATIONS |  | 1,000 | 500 | 300 | 200 | 150 | 100 | 75 | 50 | 30 | 20 | 15 | 10 | 7.5 | 5 | 3 | 2 |
| FACTORY |  | ELECTRONIC PARTS ASSEMBLY LINE DRAFTING | TYPESETTING AT PRINTING SHOP INSPECTION WORK | VISUAL WORK AT PRODUCTION LINE | PACKING WORK | EXIT ENTRANCE PASSAGE | INDOOR EMERGENCY STAIRS WAREHOUSE LOADING OR UNLOADING WORK |  |
| OFFICE |  | TYPING DRAFTING | CLERICAL WORK | CONFERENCE ROOM DINING ROOM RECEPTION ROOM READING | HALLWAYS STAIRS | ENTRANCE WAREHOUSE AUDITORIUM | INDOOR EMERGENCY STAIRS |  |
| HOUSE |  | SEWING | READING STUDY KITCHEN | MAKE-UP GROOM-ING | DINING TABLE | RECREA-TIONAL ACTIVITIES | WASHING LAVATORY |  |
| STORE |  | FOREFRONT OF SHOW WINDOW | SHOW WINDOW PACKING TABLE | ELEVATOR | DISPLAY STAND | RECEP-TION ROOM | CORRIDOR STAIRS | INDOORS |  | PARKING |  |
| HOSPITAL |  | EYE INS-PECTION |  | OPERATING ROOM EMERGENCY TREATMENT | MEDICAL EXAMINATION ROOM DINNING ROOM | WAITING ROOM | SICK ROOM WARE-HOUSE | STAIRS | EMERGENCY STAIRS |  |
| SCHOOL |  | DRAFTING ROOM LABORATORY LIBRARY | CLASS ROOM | INDOOR GYMNASIUM GENERAL AUDITORIUM WASH ROOM | EMERGENCY STAIRS |  |
|  |  |  | BASKETBALL |  |  |  |  |
| RESTAURANT |  | SHOW WINDOW | COOKING ROOM DINING TABLE | ENTRANCE WASH ROOM | CORRIDOR STAIRS |  |
| BARBER BEAUTY PARLOR |  | HAIR DYING MAKE UP HAIR DRESSING | SHAVING HAIR WASHING DRESSING |  |
| COMPUTER LAB |  | READING |  |  | MONITOR |  |
|  |  |  | KEYBOARD |  |  |  |